## Slide 1: Physics and Physical Measurement
Topic 1.2 Measurement and uncertainties

## Slide 2: BTEOTLYWBAT
Know the distinction between systematic errors (including zero errors) and random errors
Know the distinction between precision and accuracy
Assess the uncertainty in a derived quantity by simple addition of actual, fractional or percentage uncertainties (a rigorous statistical treatment is not required).

## Slide 3: Errors and Uncertainties
Errors can be divided into 2 main Types
Systematic errors
Random errors

## Slide 4: Accuracy
Accuracy is an indication of how close a measurement is to the accepted value indicated by the relative or percentage error in the measurement
An accurate experiment has a low systematic error

## Slide 5: Precision
Precision is an indication of the agreement among a number of measurements made in the same way indicated by the absolute error
A precise experiment has a low random error

## Slide 6: Limit of Reading and Uncertainty
The Limit of Reading of a measurement is equal to the smallest graduation of the scale of an instrument

## Slide 7: Limit of Reading and Uncertainty
The Degree of Uncertainty of a measurement is equal to half the limit of reading
e.g. If the limit of reading is 0.1cm then the uncertainty range is 0.05cm (for digital meters L.O.R.=D.o.U.)

## Slide 8: Limit of Reading and Uncertainty
This is the absolute uncertainty it tells us how precise our measurement is.
When tabulating raw data include the uncertainty and unit in the column heading e.g. Length 20.5+- 0.1/ cm

## Slide 9: Propogation of Uncertainty in calculations
For addition or subtraction add the absolute uncertainty values.
For multiplication or division add together the percentage uncertainties
Power of ten relationships are a variation on multiplication rule – 53 = 5x5x5 so total percentage uncertainty is 3 x percentage uncertainty.
For all other calculations complete calculations 3 times with average, maximum and minimum values

## Slide 10: Mistakes
Mistakes on the part of an individual such as
poor arithmetic and computational skills
wrongly transferring raw data to the final report
using the wrong theory and equations
These are a source of error but are not considered as an experimental error

## Slide 11: Systematic Errors
Cause a random set of measurements to be spread about a value other than the accepted value
It is a systematic or instrument error

## Slide 12: Causes of Systematic Errors
Badly made instruments
Poorly calibrated instruments
An instrument having a zero error, a form of calibration
Poorly timed actions
Instrument parallax error
Note that systematic errors are not reduced by multiple readings

## Slide 13: Random Errors
Are due to variations in performance of the instrument and the operator
Even when systematic errors have been allowed for, there exists error.

## Slide 14: Causes of random error
Vibrations and air convection
Misreading
Variation in thickness of surface being measured
Using less sensitive instrument when a more sensitive instrument is available
Human parallax error

## Slide 15: Reducing Random errors
Random errors can be reduced
By taking multiple readings, and eliminating obviously erroneous result
By averaging the range of results.

## Slide 16: Plotting errors on Graphs
Points are plotted with a fine pencil cross
Uncertainty or error bars are required
These are short lines drawn from the plotted points parallel to the axes indicating the absolute error of measurement

## Slide 17: Decimal places
The number of decimal places should reflect the precision of the raw value
Simple rule:
All raw data must be recorded to the same number of decimal places
Simple rule 2:
The number of decimal places represents the precision of the reading e.g. a ruler would measure to 1dp in cm

## Slide 18: Significant figures
The number of significant figures should reflect the precision of the input data to be calculated
Simple rule:
For multiplication and division, the number of significant figures in a result should be the same as that of the least precise value upon which it depends

## Slide 19: Activities and readings
Complete Experiment
P4U p395,398&399

## Slide 20: Knowledge check
Know the distinction between systematic errors (including zero errors) and random errors
Know the distinction between precision and accuracy
Assess the uncertainty in a derived quantity by simple addition of actual, fractional or percentage uncertainties (a rigorous statistical treatment is not required).